Laboratory work №4

Characteristics of photodiodes

Theoretical background

Working process

- Assemble the circuit 1 below;

- Measure current of photodiode depending on voltage (I-V characteristics);

- Construct graph of I-V characteristics;

- Assemble the circuit 2 below;

- Measure photocurrent of photodiode lighted with red LED;

- Measure photocurrent of photodiode lighted with green LED;

- Measure photocurrent of photodiode lighted with blue LED;

- Measure luminance of  red LED using luxmeter;

- Measure luminance of  green LED luxmeter;

- Measure luminance of  blue LED luxmeter;

- Construct the responsivity graph using measured data.

R(λ)=IphPopt