Short Tandem Repeat Markers

Ever since their discovery in the early 1980s, the ubiquitous occurrence of microsatellites—also referred to as short tandem repeats (STRs) or simple sequence repeats (SSRs)—has puzzled geneticists.… [Understanding STRs] is important if we wish to understand how genomes are organized and why most genomes are filled with sequences other than genes.

—Hans Ellegren, 2004

GENETIC MARKERS AND REPEATED DNA SEQUENCES

Because more than 99.7% of the human genome is the same from individual to individual, regions that differ need to be found in the remaining 0.3% in order to tell people apart at the genetic level. There are many repeated DNA sequences scattered throughout the human genome. Because these repeat sequences are typically located between genes, they can vary in size from per- son to person without impacting the genetic health of the individual.

Eukaryotic genomes are full of repeated DNA sequences. These repeated DNA sequences come in all types of sizes and are typically designated by the length of the core repeat unit and the number of contiguous repeat units or the over- all length of the repeat region. Long repeat units may contain several hundred to several thousand bases in the core repeat.

These regions are often referred to as satellite DNA and may be found surround- ing the chromosomal centromere. The term satellite arose because frequently one or more minor ‘satellite bands’ were seen in early experiments involving equilibrium density gradient centrifugation.

The core repeat unit for a medium-length repeat, sometimes referred to as a minisatellite or a VNTR (variable number of tandem repeats), is in the range of approximately 8 to 100 bases in length. As noted in Chapter 3, the previously used forensic DNA marker D1S80 is a minisatellite with a 16-bp repeat unit.

DNA regions with repeat units that are 2 to 7 bp in length are called microsatel- lites, simple sequence repeats (SSRs), or most usually short tandem repeats (STRs). STRs have become popular DNA repeat markers because they are easily ampli- fied by the polymerase chain reaction (PCR) without the problems of differen- tial amplification. This is because both alleles from a heterozygous individual are similar in size since the repeat size is small. The number of repeats in STR markers can be highly variable among individuals, which make these STRs effective for human identification purposes.

Literally thousands of polymorphic microsatellites have been characterized in human DNA and there may be more than a million microsatellite loci pres- ent depending on how they are counted. Regardless, microsatellites account for approximately 3% of the total human genome. STR markers are scattered throughout the genome and occur on average every 10,000 nucleotides.

Computer searches of the recently available human genome reference sequence have cataloged the number and nature of STR markers in the genome. A large number of STR markers have been characterized by academic and commer- cial laboratories for use in disease gene location studies. For example, the Marshfield Medical Research Foundation in Marshfield, Wisconsin (http:// research.marshfieldclinic.org/genetics) has gathered genotype data on over 8000 STRs that are scattered across the 23 pairs of human chromosomes for the purpose of developing human genetic maps (see Chapter 17).

To perform analysis on STR markers, the invariant ﬂanking regions surround- ing the repeats must be determined. Once the ﬂanking sequences are known, then PCR primers can be designed and the repeat region amplified for analy- sis (Figure 8.1). New STR markers are usually identified in one of two ways:

(1) searching DNA sequence databases such as GenBank for regions with more than six or so contiguous repeat units or (2) performing molecular biology isolation methods. The availability of a reference human genome sequence now makes the first option a viable and productive one, and more than 20,000 tetranucleotide STR repeats have been located throughout the human genome. However, when the core STR loci that are widely used today were selected back in the mid-1990s, only a handful of STR loci were known and characterized.

Types of STR markers

STR repeat sequences are named by the length of the repeat unit. Dinucleotide repeats have two nucleotides repeated next to each other over and over again.

(a) Fluorescent

dye

Forward PCR primer

PCR product size generated

DNA template

containing STR marker

Reverse PCR primer

(b)

Flanking regions

4 repeat units

GATA

GATA

GATA

GATA

STR repeat region

5 repeat units

6 repeat units

FIGURE 8.1

- PCR primers anneal to unique, consistent sequences in the flanking regions that bracket the variable STR repeat region. (b) The overall sizes of STR alleles typically differ by the size of the inserted repeat unit.

Trinucleotides have three nucleotides in the repeat unit, tetranucleotides have four, pentanucleotides have five, and hexanucleotides have six repeat units in the core repeat. Theoretically, there are 4, 16, 64, 256, 1024, and 4096 possible motifs for mono-, di-, tri-, tetra-, penta-, and hexanucleotide repeats, respec- tively. However, because microsatellites are tandemly repeated, some motifs are actually equivalent to others (D.N.A. Box 8.1). For reasons that will be discussed below, tetranucleotide repeats have become the most popular STR markers for human identification.

STR sequences not only vary in the length of the repeat unit and the num- ber of repeats but also in the rigor with which they conform to an incremen- tal repeat pattern. STRs are often divided into several categories based on the repeat pattern. Simple repeats contain units of identical length and sequence, compound repeats comprise two or more adjacent simple repeats, and com- plex repeats may contain several repeat blocks of variable unit length as well as variable intervening sequences. Complex hypervariable repeats also exist with numerous nonconsensus alleles that differ in both size and sequence and are therefore challenging to genotype reproducibly. This last category of STR markers is not commonly used in forensic DNA typing due to difficulties with allele nomenclature and measurement variability between laboratories,

D.N.A. Box 8.1  List of Possible Microsatellite Motifs

Theoretically, there are 4, 16, 64, 256, 1024, and 4096 possible motifs for mono-, di-, tri-, tetra-, penta-, and hexanucleotide repeats, respectively. However, because microsatellites are tandemly repeated, some motifs are actually equivalent to others. Two rules can be used to identify whether motif A is equivalent to motif B. Motif A is considered equivalent to motif B when (1) motif A is inversely complementary to motif B, or (2) motif A is different from motif B or the inversely com- plementary sequence of motif B by frameshift. For example,

(GAAA)n is equivalent to (AGAA)n, (AAGA)n, (AAAG)n, (TTTC)n, (TTCT)n, (TCTT)n, and (CTTT)n. Note that (AGAG)n is considered a dinucleotide repeat instead of a tetranucleo- tide motif.

Because of this equivalence in repeat motif structure there are only 2, 4, 10, 33, 102, and 350 possible motifs for mono-, di-, tri-, tetra-, penta-, and hexanucleotide repeats, respec- tively (see below).

Mononucleotide repeats (2):

A C

Dinucleotide repeats (4):

AC AG AT CG

Trinucleotide repeats (10):

AAC AAG AAT ACC ACG ACT AGC AGG ATC CCG

Tetranucleotide repeats (33):

AAAC AAAG AAAT AACC AACG AACT AAGC AAGG AAGT AATC

AATG AATT ACAG ACAT ACCC ACCG ACCT ACGC ACGG ACGT

ACTC ACTG AGAT AGCC AGCG AGCT AGGC AGGG ATCC ATCG

ATGC CCCG CCGG the AGAT (or GATA) motif is the most common motif for STR loci used by forensic scientists

Penta- (102) and hexanucleotide (350) repeats are not shown due to the sheer number of motifs possible.

Source:

Jin, L., Zhong, Y., & Chakraborty, R. (1994). The exact numbers of possible microsatellite motifs [letter]. American Journal of Human Genetics, 55, 582–583.

although two commercial kits now include the complex hypervariable STR locus SE33, sometimes called ACTBP2.

Not all alleles for an STR locus contain complete repeat units. Even simple repeats can contain nonconsensus alleles that fall in between alleles with full repeat units. Microvariants are alleles that contain incomplete repeat units.

Perhaps the most common example of a microvariant is the allele 9.3 at the TH01 locus, which contains nine tetranucleotide repeats and one incomplete repeat of three nucleotides because the seventh repeat is missing a single ade- nine out of the normal AATG repeat unit.

STRs used in forensic DNA typing

For human identification purposes it is important to have DNA markers that exhibit the highest possible variation or a number of less polymorphic mark- ers that can be combined in order to obtain the ability to discriminate between samples. As will be discussed further in Chapter 14, forensic specimens are often challenging to PCR amplify because the DNA in the samples may be severely degraded (i.e., broken up into small pieces). Mixtures are prevalent as well in some forensic samples, such as those obtained from sexual assault cases containing biological material from both the perpetrator and victim.

As noted in Chapter 3, the small size of STR alleles (~100 to 400 bp) com- pared to minisatellite VNTR alleles (~400 to 1000 bp) makes the STR mark- ers better candidates for use in forensic applications where degraded DNA is common. PCR amplification of degraded DNA samples can be better accom- plished with smaller product sizes. These reduced-size STR amplicons are often referred to as miniSTRs. Allelic dropout of larger alleles in minisatel- lite markers caused by preferential amplification of the smaller allele is also a significant problem with minisatellites. There are multiple reasons why the smaller STRs are advantageous compared to the larger minisatellite VNTRs.

Among the various types of STR systems, tetranucleotide repeats have become more popular than di- or trinucleotides. Penta- and hexanucleotide repeats are less common in the human genome but are being examined by some labora- tories. As discussed in Chapter 10, a biological phenomenon known as ‘stut- ter’ results when STR alleles are PCR amplified. Stutter products are amplicons that are typically one repeat unit less in size than the true allele and arise dur- ing PCR because of strand slippage. STR product amounts vary depending on the STR locus but are usually less than 15% of the allele product quantity with tetranucleotide repeats. With di- and trinucleotides, the stutter percentage can be much greater (30% or more), making it difficult to interpret sample mix- tures. In addition, the four-base spread in alleles with tetranucleotides makes closely spaced heterozygotes easier to resolve with size-based electrophoretic separations compared to alleles that could be two or three bases different in size with dinucleotides and trinucleotide markers, respectively.

STR allele nomenclature

To aid in interlaboratory reproducibility and comparisons of data, a common nomenclature has been developed in the forensic DNA community. DNA

1	2	3	4	5	6

5-TTTCCC TCAT TCAT TCAT TCAT TCAT TCAT TCACCATGGA-3

3-AAAGGG AGTA AGTA AGTA AGTA AGTA AGTA AGTGGTACCT-5

6	5	4	3	2	1

FIGURE 8.2

Example of the DNA sequence in a STR repeat region. Note that using the top strand versus the

bottom strand results in different repeat motifs and starting positions. In this example, the top strand has 6 TCTA repeat units while the bottom strand has 6 TGAA repeat units. Under ISFG recommendations, the top strand from GenBank should be used. Thus, this example would be described as having [TCAT] as the repeat motif. Repeat numbering, indicated above and below the sequence, proceeds in the 5'-to-3' direction as illustrated by the arrows.

results cannot be effectively shared unless all parties are speaking the same language and referring to the same conditions. (It would do little good to describe the recipe for baking a cake in a language that is not understood by both the recipe giver and the chef. For example, if the recipe says to turn the oven on to 450°F and the chef uses 450 Kelvin [~250°F], the results would be vastly different.)

If one laboratory calls a sample 15 repeats at a particular STR locus and the same sample is designated 16 repeats by another laboratory, a match would not be considered, and the samples would be assumed to come from separate sources. As will be discussed in Chapter 12, the advent of national DNA data- bases with many laboratories contributing information to those databases has made it crucial to have internationally accepted nomenclature for designating STR alleles.

A repeat sequence is named by the structure (base composition) of the core repeat unit and the number of repeat units. However, because DNA has two strands, either of which may be used to designate the repeat unit for a par- ticular STR marker, more than one choice is available and confusion can arise without a standard format. Also, where an individual starts counting the number of repeats can also make a difference. With double-stranded DNA sequences being read in the 5' to 3' direction, the choice of the strand impacts the sequence designation. For example, the ‘top’ strand for an STR marker may be 5'-…(GATA)n…-3' while the ‘bottom’ strand for the same sequence would be 5'-…(TATC)n…-3'. Depending on the sequence surrounding the repeat region, the core repeat could be shifted relative to the other strand (Figure 8.2).

Allelic ladders

An allelic ladder is an artificial mixture of the common alleles present in the human population for a particular STR marker. They are generated with

Individual Samples

6	8

7	9

8

Combine and re-amplify

9  10

6  7  8	9  10

Allelic Ladder

FIGURE 8.3

Principle of allelic ladder formation. STR alleles from a number of samples are analyzed and compared to one another. Samples representing the common alleles for the locus are combined and reamplified to generate an allelic ladder. Each allele in the allelic ladder is sequenced since it serves as the reference material for STR genotyping. Allelic ladders are included in commercially available STR kits.

for each allele included in the ladder. Allelic ladders have been shown to be important for accurate genotype determinations. These allelic ladders serve as a standard like a measuring stick for each STR locus. They are necessary to adjust for different sizing measurements obtained from different instruments and conditions used by various laboratories.

the same primers as tested samples and thus provide a reference DNA size

Allelic ladders are constructed by combining genomic DNA or locus-specific PCR products from multiple individuals in a population, which possess alleles that are representative of the variation for the particular STR marker. The sam- ples are then coamplified to produce an artificial sample containing the com- mon alleles for the STR marker (Figure 8.3). Allele quantities are balanced by adjusting the input amount of each component so that the alleles are fairly equally represented in the ladder. For example, to produce a ladder containing five alleles with 6, 7, 8, 9, and 10 repeats, individual samples with genotypes of (6,8), (7,10), and (9,9) could be combined. Alternatively, the combination of genotypes could be (6,9), (7,8), and (10,10) or (6,6), (7,7), (8,8), (9,9),

and (10,10).

Additional quantities of the same allelic ladder (second- and third-generation ladders) may be produced by simply diluting the original ladder 1/1000 to

1/1,000,000 parts with deionized water and then reamplifying it using the same PCR primers. It is imperative that allelic ladders be generated with the same PCR primers as those used to amplify unknown samples so that the allele ‘rungs’ on the ladder will accurately line up with that of the repeat num- ber of the unknown sample when the unknown is compared to the ladder. Commercial manufacturers now provide allelic ladders in their STR typing kits so that individual laboratories do not have to produce their own allelic ladders.

CORE STR MARKERS

For DNA typing markers to be effective across a wide number of jurisdictions, a common set of standardized markers must be used. The STR loci that are commonly used today were initially characterized and developed either in the laboratory of Dr. Thomas Caskey at the Baylor College of Medicine or at the Forensic Science Service (FSS) in England. The Promega Corporation (Madison, WI) initially commercialized many of the Caskey markers, while Applied Biosystems (Foster City, CA) incorporated the FSS STR loci and also developed some new markers.

Today both Applied Biosystems and the Promega Corporation have STR kits that address the needs of the DNA typing community and cover a common set of STR loci. The availability of STR kits that permit robust multiplex ampli- fication of eight or more STR markers has truly revolutionized forensic DNA analysis. Matching probabilities that exceed one in a billion are possible in a single amplification with 1 ng (or less) of DNA sample. Just as impressive is the fact that results can be obtained today in only a few hours compared to the weeks that restriction fragment length polymorphism (RFLP) methods took just a few years ago (see Chapter 3).

The 13 CODIS STR Loci

In the United States, utilization of STRs initially lagged behind that of Europe, especially the efforts of the Forensic Science Service in the United Kingdom. However, beginning in 1996, the FBI Laboratory sponsored a community- wide forensic science effort to establish core STR loci for inclusion within the national DNA database known as CODIS (Combined DNA Index System).

Chapter 12 covers CODIS and DNA databases in more detail. This STR project beginning in April 1996 and concluding in November 1997 involved 22 DNA typing laboratories and the evaluation of 17 candidate STR loci. The evaluated STR loci were CSF1PO, F13A01, F13B, FES/FPS, FGA, LPL, TH01, TPOX, VWA, D3S1358, D5S818, D7S820, D8S1179, D13S317, D16S539, D18S51, and D21S11.

At the STR project meeting on 13–14 November 1997, 13 core STR loci were chosen to be the basis of the future CODIS national DNA database. The 13 CODIS core loci are CSF1PO, FGA, TH01, TPOX, VWA, D3S1358, D5S818, D7S820, D8S1179, D13S317, D16S539, D18S51, and D21S11.

Table 8.1 lists the original references in the literature for these 13 STRs. When all 13 CODIS core loci are tested, the average random match probability is rarer than one in a trillion among unrelated individuals. Chapter 11 pro- vides more information on the calculation of random match probability and evaluation of the rarity of DNA profiles from the 13 CODIS STRs in various populations.

| Table 8.1 Original reference describing each of the 13 CODIS STR loci and the gender identification marker amelogenin. Cooperative Human Linkage Center information is available via the Internet at http://www.chlc.org. |  |
| --- | --- |
| Locus | Reference Name |
| CSF1PO | Hammond, H. A., Jin, L., Zhong, Y., Caskey, C. T., & Chakraborty, R. (1994). Evaluation of 13 short tandem repeat loci for use in personal identification applications. American Journal of Human Genetics, 55, 175–189. |
| FGA | Mills, K. A., Even, D., & Murray, J. C. (1992). Tetranucleotide repeat polymorphism at the human alpha fibrinogen locus (FGA). Human Molecular Genetics, 1, 779. |
| TH01 | Polymeropoulos, M. H., Xiao, H., Rath, D. S., & Merril, C. R. (1991). Tetranucleotide repeat polymorphism at the human tyrosine hydroxylase gene (TH). Nucleic Acids Research, 19, 3753. |
| TPOX | Anker, R., Steinbrueck, T., & Donis-Keller, H. (1992). Tetranucleotide repeat polymorphism at the human thyroid peroxidase (hTPO) locus. Human Molecular Genetics, 1, 137. |
| V WA | Kimpton, C. P., Walton, A., & Gill, P. (1992). A further tetranucleotide repeat polymorphism in the vWF gene. Human Molecular Genetics, 1, 287. |
| D3S1358 | Li, H., Schmidt, L., Wei, M.-H., Hustad, T., Lerman, M. I., Zbar, B., & Tory, K. (1993). Three tetranucleotide polymorphisms for loci: D3S1352, D3S1358, D3S1359. Human Molecular Genetics, 2, 1327. |
| D5S818 | Cooperative Human Linkage Center GATA3F03.512. |
| D7S820 | Cooperative Human Linkage Center GATA3F01.511. |
| D8S1179 | Cooperative Human Linkage Center GATA7G07.37564. |
| D13S317 | Cooperative Human Linkage Center GATA7G10.415. |
| D16S539 | Cooperative Human Linkage Center GATA11C06.715. |
| D18S51 | Staub, R. E., Speer, M. C., Luo, Y., Rojas, K., Overhauser, J., Otto, L., & Gilliam, T. C. (1993). A microsatellite genetic linkage map of human chromosome 18. Genomics, 15, 48–56. |
| D21S11 | Sharma, V., & Litt, M. (1992). Tetranucleotide repeat polymorphism at the D21S11 locus. Human Molecular Genetics, 1, 67. |
| Amelogenin | Sullivan, K. M., Mannucci, A., Kimpton, C. P., & Gill, P. (1993). A rapid and quantitative DNA sex test: fluorescence-based PCR analysis of X-Y homologous gene amelogenin. BioTechniques, 15, 637–641. |

| Table 8.2 Information on commonly used autosomal STR loci. The 13 CODIS core loci are highlighted in bold font. |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Locus (UniSTS)a | Chromosomal Location | Physical Position (May 2004; NCBI Build 35) | GenBank Accession (Allele Repeat No.) | Category and Repeat Motif | Allele Range |
| TPOX (240638) | 2p25.3 thyroid peroxidase, 10th intron | Chr 2 1.472 Mb | M68651 (11) | Simple GAAT | 4–16 |
| D2S1338 (30509) | 2q35 | Chr 2 218.705 Mb | AC010136 (20) | Compound TGCC/TTCC | 15–28 |
| D3S1358 (148226) | 3p21.31 | Chr 3 45.557 Mb | AC099539 (16) | Compound TCTG/TCTA | 8–21 |
| FGA (240635) | 4q31.3 alpha fibrinogen, 3rd intron | Chr 4 155.866 Mb | M64982 (21) | Compound CTTT/TTCC | 12.2–51.2 |
| D5S818 (54700) | 5q23.2 | Chr 5 123.139 Mb | AC008512 (11) | Simple AGAT | 7–18 |
| CSF1PO (156169) | 5q33.1 c-fms proto-oncogene, 6th intron | Chr 5 149.436 Mb | X14720 (12) | Simple TAGA | 5–16 |
| SE33 (ACTBP2) (none reported) | 6q14 beta- actin-related pseudogene | Chr 6 89.043 Mb | V00481 (26.2) | Complex AAAG | 4.2–37 |
| D7S820 (74895) | 7q21.11 | Chr 7 83.433 Mb | AC004848 (13) | Simple GATA | 5–16 |
| D8S1179 (83408) | 8q24.13 | Chr 8 125.976 Mb | AF216671 (13) | Compound TCTA/TCTG | 7–20 |
| TH01 (240639) | 11p15.5 tyrosine hydroxylase, 1st intron | Chr 11 2.149 Mb | D00269 (9) | Simple TCAT | 3–14 |
| VWA (240640) | 12p13.31 von Willebrand factor, 40th intron | Chr 12 5.963 Mb | M25858 (18) | Compound TCTG/TCTA | 10–25 |
| D13S317 (7734) | 13q31.1 | Chr 13 81.620 Mb | AL353628 (11) | Simple TATC | 5–16 |
| Penta E (none reported) | 15q26.2 | Chr 15 95.175 Mb | AC027004 (5) | Simple AAAGA | 5–24 |
| D16S539 (45590) | 16q24.1 | Chr. 16 84.944 Mb | AC024591 (11) | simple GATA | 5–16 |

(Continued)

| Table 8.2 (Continued) |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
| Locus (UniSTS)a | Chromosomal Location | Physical Position (May 2004; NCBI Build 35) | GenBank Accession (Allele Repeat No.) | Category and Repeat Motif | Allele Range |
| D18S51 (44409) | 18q21.33 | Chr 18 59.100 Mb | AP001534 (18) | Simple AGAA | 7–40 |
| D19S433 (33588) | 19q12 | Chr 19 35.109 Mb | AC008507 (16) | Compound AAGG/TAGG | 9–17.2 |
| D21S11 (240642) | 21q21.1 | Chr 21 19.476 Mb | AP000433 (29) | Complex TCTA/ TCTG | 12–41.2 |
| Penta D (none reported) | 21q22.3 | Chr 21 43.880 Mb | AP001752 (13) | Simple AAAGA | 2.2–17 |
| Adapted from Butler, J. M. (2006). Genetics and genomics of core short tandem repeat loci used in human identity testing. Journal of Forensic Sciences, 51, 253–265. aUniSTS is a comprehensive database of sequence tagged sites (STSs) available on the NCBI Web site: http://www.ncbi.nlm.nih. gov/entrez/query.fcgi?db=unists |  |  |  |  |  |

The three most polymorphic markers are FGA, D18S51, and D21S11, while TPOX shows the least variation between individuals. A summary of infor- mation on the 13 STRs is contained in Table 8.2, which describes the chro- mosomal location and physical location on the human genome reference sequence, the repeat motif, allele range, and GenBank accession number where the DNA sequence for a reference allele may be found. The chromo- somal locations for these STRs have been updated on the completed human genome reference sequence.

Using the previously described classification scheme for categorizing STR repeat motifs, the 13 CODIS core STR loci can be divided up into four categories:

- simple repeats consisting of one repeating sequence: TPOX, CSF1PO, D5S818, D13S317, D16S539;

- simple repeats with nonconsensus alleles (e.g., 9.3): TH01, D18S51, D7S820;

- compound repeats with nonconsensus alleles: VWA, FGA, D3S1358, D8S1179; and

- complex repeats: D21S11.

European forensic DNA laboratories utilize many of the same STR loci as used in the United States. In 2006, several new European STR loci were rec- ommended for inclusion in future STR typing kits. These include D2S441, D10S1248, D22S1045, D1S1656, and D12S391.

COMMERCIALLY AVAILABLE STR KITS

A number of kits are available for single or multiplex PCR amplification of STR markers used in DNA typing. Two primary vendors for STR kits used by the forensic DNA community exist: the Promega Corporation and Applied Biosystems. These companies have expended a great deal of effort during the past decade or so to bring STR markers to forensic scientists in kit form. More recently in Europe, companies such as Serac (Bad Homburg, Germany) and Biotype (Dresden, Germany) have begun offering commercial STR kits, but due to patent and licensing issues some of these kits have limited distribution.

The technology evolved quickly in the late 1990s for more sensitive, rapid, and accurate measurements of STR alleles. At the same time, the number of STRs that can be simultaneously amplified has increased from three or four with silver-stained systems to over 15 STRs using multiple-color ﬂuorescent tags. The commercially available STR multiplexes from Promega and Applied Biosystems are listed in Table 8.3.

The adoption of the 13 core loci for CODIS in the United States has led to development of STR multiplexes that cover these markers. At the turn of the century, two PCR reactions were required to obtain information from all of the 13 STRs: either PowerPlex 1.1 and PowerPlex 2.1 or Profiler Plus and COfiler. As an internal check to reduce the possibility of mixing up samples, both manufacturers included overlapping loci in their kits that should produce concordant data between samples amplified from the same biological mate- rial. The Profiler Plus and COfiler kits have the loci D3S1358 and D7S820 (and the sex-typing marker amelogenin) in common while the PowerPlex 1.1 and PowerPlex 2.1 have the loci TH01, TPOX, and VWA in common.

Since 2000, both Promega and Applied Biosystems have marketed multiplex PCR reactions that permit coamplification of all 13 STRs in a single reaction along with the amelogenin sex-typing marker and two additional STR loci (Figure 8.4). Figure 8.5 displays electropherograms with size-separated PCR products for Promega’s PowerPlex 16 kit as color-separated panels of loci or as an overlay of all colors. The allelic ladders for the Applied Biosystems’ AmpFlSTR Identifiler kits are displayed in Figure 8.6.

When they were first developed, some of the PowerPlex kits were created to work with the Hitachi FMBIO scanner (see D.N.A. Box 9.2). However, today STR kits are developed with capillary electrophoresis instruments in mind for detection.

Commercial manufacturers of STR kits have spent a great deal of research effort defining which markers would be included in each kit as well as verify- ing if primer pairs are compatible and work well in combination with each

| Table 8.3 Summary of available commercial STR kits that are commonly used. |  |  |
| --- | --- | --- |
| Kit Name | STR Loci Included | Random Match Probability with Author’s Profilea |
| Promega Corporation |  |  |
| PowerPlex 1.1 and 1.2 | CSF1PO, TPOX, TH01, VWA, D16S539, D13S317, D7S820, D5S818 | 7.4×10—10 |
| PowerPlex 2.1 (for Hitachi FMBIO users) | D3S1358, TH01, D21S11, D18S51, VWA, D8S1179, TPOX, FGA, Penta E | 3.4×10—11 |
| PowerPlex ES | FGA, TH01, VWA, D3S1358, D8S1179, D18S51, D21S11, SE33, amelogenin | 1.3×10—10 |
| PowerPlex 16 | CSF1PO, FGA, TPOX, TH01, VWA, D3S1358, D5S818, D7S820, D8S1179, D13S317, D16S539, D18S51, D21S11, Penta D, Penta E, amelogenin | 1.2×10—18 |
| PowerPlex 16 BIO (for Hitachi FMBIO users) | CSF1PO, FGA, TPOX, TH01, VWA, D3S1358, D5S818, D7S820, D8S1179, D13S317, D16S539, D18S51, D21S11, Penta D, Penta E, amelogenin | 1.2×10—18 |
| PowerPlex S5 | FGA, TH01, D18S51, D8S1179, amelogenin | 1.0×10—5 |
| Applied Biosystems |  |  |
| AmpFl STR Blue | D3S1358, VWA, FGA | 1.0×10—3 |
| AmpFlSTR Green I | Amelogenin, TH01, TPOX, CSF1PO | 7.8×10—4 |
| AmpFlSTR COfiler | D3S1358, D16S539, amelogenin, TH01, TPOX, CSF1PO, D7S820 | 2.0×10—7 |
| AmpFlSTR Profiler Plus | D3S1358, VWA, FGA, amelogenin, D8S1179, D21S11, D18S51, D5S818, D13S317, D7S820 | 2.4×10—11 |
| AmpFlSTR Profiler Plus IDb | D3S1358, VWA, FGA, amelogenin, D8S1179, D21S11, D18S51, D5S818, D13S317, D7S820 | 2.4×10—11 |
| AmpFlSTR Profiler | D3S1358, VWA, FGA, amelogenin, TH01, TPOX, CSF1PO, D5S818, D13S317, D7S820 | 9.0×10—11 |
| AmpFlSTR SGM Plus | D3S1358, VWA, D16S539, D2S1338, amelogenin, D8S1179, D21S11, D18S51, D19S433, TH01, FGA | 4.5×10—13 |
| AmpFlSTR SEfiler | FGA, TH01, VWA, D3S1358, D8S1179, D16S539, D18S51, D21S11, D2S1338, D19S433, SE33, amelogenin | 5.1×10—15 |
| AmpFlSTR Identifiler | CSF1PO, FGA, TPOX, TH01, VWA, D3S1358, D5S818, D7S820, D8S1179, D13S317, D16S539, D18S51, D21S11, D2S1338, D19S433, amelogenin | 7.2×10—19 |
| AmpFlSTR MiniFiler | CSF1PO, FGA, D7S820, D16S539, D13S317, D18S51, D21S11, D2S1338, amelogenin | 1.1×10—11 |
| Adapted from Butler, J. M. (2006). Genetics and genomics of core short tandem repeat loci used in human identity testing. Journal of Forensic Sciences, 51, 253–265. aAllele frequencies used for random match probability calculations (to unrelated individuals) from U.S. Caucasian population data associated with Butler et al. (2003), Reid et al. (2003), and Levadokou et al. (2001). Subpopulation structure adjustments (theta cor- rections) were not made with these calculations (i.e., only p2 and 2pq were used). bProfiler Plus ID includes an additional D8S1179 reverse primer to permit amplification when a primer binding site mutation occurs. |  |  |

PCR product size (bp)

100	150	200	250	300	350	400

FL (Blue)

PowerPlex 16 kit (Promega Corporation)

Penta E

D3S1358	TH01	D21S11	D18S51

Penta D

JOE (Green)	D5S818	D13S317	D7S820	D16S539	CSF1PO

TMR (Yellow) CXR (Red)

AMEL	VWA	D8S1179	TPOX	FGA

ILS600 CXR size standard

AmpFlSTR Identifiler kit (Applied Biosystems)

6-FAM (Blue)	D8S1179	D21S11	D7S820	CSF1PO

D19S433

D2S1338

VIC (Green)	D3S1358	TH01	D13S317	D16S539

NED (Yellow)

VWA

TPOX

D18S51

PET (Red)	AMEL	D5S818	FGA

GS500 LIZ size standard

LIZ (Orange)

FIGURE 8.4

Commercially available STR kit solutions for a single amplification of the 13 CODIS core loci. General size ranges and dye-labeling strategies are indicated. The PowerPlex 16 kit uses four dyes while the Identifiler kit uses five dyes. Loci located within dashed boxes are additional loci specific to each kit.

other during multiplex PCR conditions. Promega has published and patented its PCR primer sequences whereas Applied Biosystems has kept its primer sequences proprietary although some information has been revealed regard- ing the use of degenerate primers (see D.N.A. Box 10.3). The issue over failure to disclose kit primer sequences impacted several court cases early on in the legal acceptance of STR technology but appears to have been resolved now (D.N.A. Box 8.2).

Most laboratories do not have the time or resources to design primers, opti- mize PCR multiplexes, and quality control primer synthesis. The convenience of using ready-made kits is augmented by the fact that widely used primer sets and conditions allow improved opportunities for sharing data between laboratories without fear of possible null alleles (see D.N.A. Box 10.3). Available STR multiplex sets vary based on which STR loci are included, the ﬂuorescent dye combinations, the DNA strand that is labeled, allelic ladders present in kits, and, most importantly, the primer sequences utilized for PCR amplification. It is important to keep in mind that commercially available kits quickly dictate which STRs will be used by the vast majority of forensic laboratories.

Overlay of all 4 colors (including internal size

standard)

blue panel

D18S51

Penta E

D3S1358 TH01

D21S11

green panel

D5S818

D7S820

CSF1PO

Penta D

D13S317

D16S539

yellow panel

VWA

Amelogenin (sex-typing)

D8S1179

TPOX

FGA

red panel

100 bp

ILS600 DNA sizing standard

200 bp	300 bp	400 bp

500 bp

120 140 160 180	225 250 275	325 350 375	425 450 475

FIGURE 8.5

PowerPlex 16 result from 1 ng genomic DNA.

Commercial allelic ladders

Each manufacturer of STR kits provides allelic ladders that may be used for accurate genotyping. Kits from the Promega Corporation and Applied Biosystems for comparable STR markers often contain different alleles in their allelic ladders. For example, the PowerPlex 1.1 kit from Promega contains alleles 7 to 15 in its D5S818 allelic ladder, while the Profiler Plus kit from Applied Biosystems contains alleles 7 to 16 in its D5S818 allelic ladder. By having an allele present in the ladder, a laboratory can be more confident of a call from an unknown sample that is being analyzed.

In the D5S818 example listed here, one would be more confident typing an observed allele 16 when using the Applied Biosystems kit than the Promega kit because the D5S818 allelic ladder has an allele 16 in the ABI kit. Some of the more recent kits come with an amazing number of alleles in their ladders. For example, the Identifiler kit from Applied Biosystems contains 205 alleles (Figure 8.6). The Promega PowerPlex 16 kit has 209 alleles in its allelic lad- ders. Putting together and mass producing such a large set of alleles is an impressive feat.

D.N.A. Box 8.2 Disclosure of STR Kit Primer Sequences

During the early adoption of STR typing technology in U.S. court systems, three cases ruled that DNA results would not be permissible as evidence because the commercial STR kit PCR primer sequences and developmental validation stud- ies were not public information. These cases were People v. Bokin (San Francisco, California, May 1999), People v. Shreck (Boulder, Colorado, April 2000), and State v. Pfenning (Grand Isle, Vermont, April 2000).

Shortly after the Pfenning case, the Promega Corporation made the decision to publish their STR kit primer sequences (see news in Nature, 27 July 2000 issue, Vol. 406, p. 336) and have done so since (Masibay et al., 2001; Krenke et al., 2002), along with obtaining several patents in the area of multiplex amplification of STR loci.

Applied Biosystems has repeatedly refused to release the primer sequences present in their STR kits claiming that this information is proprietary. The company is concerned that they would lose revenue if generic brand products were produced by other entities using the revealed primer information. However, in at least 16 cases, the primer seq- uences for the ProfilerPlus and COfiler kits have been sup- plied by Applied Biosystems under a protective court order.

Numerous publications since 2000 have demonstrated the reliable use of Applied Biosystems STR kits including detailed validation studies (see Holt et al., 2002). The argu- ments that not enough information exists to support the reli- able use of commercial STR kits whose every component is not public knowledge have fallen by the wayside as millions of DNA profiles have been reliably generated with these kits in the past few years.

Sources:

Holt, C. L., et al. (2002). TWGDAM validation of AmpFlSTR PCR amplification kits for forensic DNA casework. Journal of Forensic Sciences, 47, 66–96.

http://www.scientific.org/archive/archive.html http://www.denverda.org/html_website/denver_da/DNA_resources

.html  http://www.denverda.org/legalResource/ABSequencecaselist.pdf Krenke, B. E., et al. (2002). Validation of a 16-locus ﬂuorescent multi- plex system. Journal of Forensic Sciences, 47, 773–785.

Masibay, A., et al. (2000). Promega Corporation reveals primer

sequences in its testing kits [letter]. Journal of Forensic Sciences, 45, 1360–1362.

AmpFlSTR Identifiler kit innovations

Applied Biosystems introduced two new technologies with their AmpFlSTR Identifiler kit when it was released in 2001. The first, and most obvious, involves the use of five-dye detection systems where four different dyes (6FAM, VIC, NED, and PET) are used to label the PCR products rather than the tradi- tional three dyes (5FAM, JOE, NED or FL, JOE, TMR) used with the previous AmpFlSTR or PowerPlex kits. As described in Chapter 10, a single dye detection channel is always used for an internal size standard to correlate electrophoretic mobilities to an apparent PCR product size. Thus, the fifth dye (LIZ) in five- dye detection and the fourth dye (ROX or CXR) in four-dye detection are used for labeling the internal size standard. The extra dye channel for labeling PCR products enables smaller PCR products to be generated and placed in a separate dye channel rather than extending the size range for amplicons (see Figure 8.4).

The second technology introduced with the Identifiler kit involves mobility- modifying nonnucleotide linkers. The mobility modifier is composed of hexaethyleneoxide (HEO) that imparts a shift of approximately 2.5 nucleo- tides with each additional HEO unit. This nonnucleotide linker is synthesized

D8S1179

(12 alleles)

D21S11

(24 alleles)

D7S820

(10 alleles)

CSF1PO

(10 alleles)

Blue panel

D3S1358

(8 alleles)

TH01

(10 alleles)

D13S317

(8 alleles)

D16S539

(9 alleles)

D2S1338

(14 alleles)

Green panel

D19S433

(15 alleles)

VWA

(14 alleles)

TPOX

(8 alleles)

D18S51

(23 alleles)

Yellow panel

Red panel

AMEL

(2 alleles)

D5S818

(10 alleles)

FGA low

(19 alleles)

FGA high

(9 alleles)

100 bp

150 bp

139 bp	160 bp

LIZ-labeled GS500 DNA sizing standard

200 bp

250 bp*

300 bp

Orange panel

340 bp 350 bp

FIGURE 8.6

AmpF lSTR Identifiler allelic ladders (Applied Biosystems). A total of 205 alleles are included in this set of allelic ladders used for genotyping a multiplex PCR reaction involving 15 STR loci and the amelogenin sex-typing test.

Primer sequence

3-end

5-end

Fluorescent dye at 5-end

For each linker unit added, there is an apparent migration shift of  2.5 bp

FIGURE 8.7

Nonnucleotide linkers (mobility modifiers)

PCR amplification generates a labeled PCR product containing the mobility modifiers

Illustration of mobility modifiers used in Applied Biosystems’ Identifiler STR kit. Nonnucleotide linkers are synthesized into the primer between the fluorescent dye and 5' end of the primer sequence. During PCR amplification, the dye and linker are incorporated into the amplicon. With the added nonnucleotide linker, the mobility of the generated STR allele will be shifted to a larger apparent size during electro- phoresis. This shift of STR alleles for a particular locus then enables optimal interlocus spacing for

STR loci labeled with the same fluorescent dye without having to alter the PCR primer binding positions (see Figure 8.8).

Size overlap

- COfiler kit

allele relative size ranges

6	CSF1PO	15

JOE-labeled (green)

6	D7S820

279.65 bp

15

317.67 bp

NED-labeled (yellow)

  - bp	292.62 bp

- Identifiler kit

allele relative size ranges

10 nonnucleotide linkers

 +25 bp shift

6	D7S820

15	6

CSF1PO	15

6FAM-labeled (blue)

6FAM-labeled (blue)

255.15 bp	291.58 bp  304.69 bp	341.84 bp

FIGURE 8.8

Illustration of how nonnucleotide linkers attached to CSF1PO PCR products in the Identifiler STR kit help with interlocus spacing between D7S820 and CSF1PO. (a) In the COfiler kit,CSF1PO and D7S820 are labeled with different colored fluorescent labels and thus do not interfere with one another. However,

- in the Identifiler kit, both D7S820 and CSF1PO are labeled with the same dye and would therefore have overlapping STR alleles unless primer positions were changed or mobility modifiers were used. An

≈25-bp shift of the CSF1PO PCR products is accomplished by the addition of 10 nonnucleotide linkers.

PCR product sizes for allelic ladder ranges displayed here are from the COfiler and Identifiler kit user’s manuals. Note that sizes for D7S820 alleles do not match exactly because different dye labels are used with both the PCR products and the internal size standard, thus impacting their relative mobilities.

into the 5' end of the PCR primer so that when the PCR product is created it contains these extra molecules on one end (Figure 8.7). By incorporating nonnucleotide linkers, mobilities for amplified alleles from one member of a pair of closely spaced STR loci can be shifted relative to the other. Thus, over- lapping size ranges can be prevented (Figure 8.8).

The primary reason for introducing mobility modifiers is to permit con- tinued use of the same PCR primers for amplifying STR loci and still have optimal interlocus spacing within the various color channels. For example, if the loci D7S820 and CSF1PO, which are labeled with two different ﬂuo- rophores in the COfiler kit and therefore do not interfere with one another, were labeled with the same colored ﬂuorescent label (e.g., 6FAM) as they are in the Identifiler STR kit, the allelic ladder products would have overlapped by ~13 bp (see Figure 8.8). To prevent this overlap in allele size ranges, either

- PowerPlex 1.1 Kit

CSF1PO

forward primer

TMR-labeled

(AGAT)6-15

91 bp

128 bp

CSF1PO

reverse primer

PCR product sizes = 291– 327 bp

- PowerPlex 16 Kit

CSF1PO

forward primer

JOE-labeled

238 bp

(AGAT)6-15

13 bp

CSF1PO

reverse primer

+30 bp shift in size

PCR product sizes = 321– 357 bp

FIGURE 8.9

Variation in CSF1PO primer positions between (a) PowerPlex 1.1 and (b) PowerPlex 16 STR kits. The base pair (bp) numbers in bold indicate the distance between the repeat region and 3' end of the pertinent primer. The overall PCR product size for CSF1PO is shifted +30 bp with the primer changes from Power- Plex 1.1 to PowerPlex 16. Note that the primer lengths, which contribute to the overall PCR product size, are not included.

PCR primer binding sites must be altered to change the overall size of the PCR product or mobility modifiers can be introduced to shift the apparent relative molecular mass of the larger PCR product to an even larger size. In the case of the Identifiler kit, the locus CSF1PO was shifted by approximately 25 bp—through the addition of 10 HEO nonnucleotide linkers to the 5' end of the labeled PCR primer. Nonnucleotide linkers are also present on four other loci in the Identifiler kit: D2S1338, D13S317, D16S539, and TPOX.

Promega has changed primer sequences for a few of the loci between PowerPlex versions. For example, between the PowerPlex 1.1 and PowerPlex 16 kits, the CSF1PO primer positions were drastically altered in order to achieve a 30-bp shift in PCR product size between the two kits (Figure 8.9). This primer change and subsequent PCR product shift were instituted so that CSF1PO and D16S539 loci could be labeled with the same dye in the PowerPlex 16 kit. Note that if the original CSF1PO primers had been kept, there would have been a 13-bp overlap between D16S539 allele 15 (304 bp) and CSF1PO allele 6 (291 bp), making these systems incompatible in the same dye color without altering the PCR product size (i.e., primer positions) for one of them.

Different primer positions have the potential to lead to allele dropout if a primer binding site mutation impacts one of the primer pairs (see D.N.A. Box 10.3). Hence concordance studies are needed between various STR kits to assess the level of potential allele dropout. On the other hand, Applied Biosystems has maintained the same primers over time and through their var- ious AmpFlSTR kits by introducing five-dye chemistry and mobility modifiers for products that would normally overlap with one another (see Figure 8.8).

GENDER IDENTIFICATION WITH AMELOGENIN

The ability to designate whether a sample originated from a male or a female source is useful in many sexual assault cases, where distinguishing between the victim and the perpetrator’s evidence is important. Likewise, missing per- sons and mass disaster investigations can benefit from gender identification of the remains. Over the years a number of gender identification assays have been demonstrated using PCR methods. By far the most popular method for sex typing today is the amelogenin system because it can be performed in conjunction with STR analysis.

Amelogenin is a gene that codes for proteins found in tooth enamel. The British Forensic Science Service was the first to describe the particular PCR primer sets that are used so prevalently in forensic DNA laboratories today. These primers ﬂank a 6-bp deletion within intron 1 of the amelogenin gene on the X homologue (Figure 8.10). PCR amplification of this area with their primers results in 106- and 112-bp amplicons from the X and Y chro- mosomes, respectively. Primers that yield a 212-bp X-specific amplicon and a 218-bp Y-specific product by bracketing the same 6-bp deletion were also described in the original amelogenin paper and have been used in conjunc- tion with the D1S80 VNTR system.

An advantage with the above approach, that is, using a single primer set to amplify both chromosomes, is that the X-chromosome product itself plays a role as a positive control. This PCR-based assay is extremely sensitive. Mannucci and coworkers were able to detect as little as 20 pg (~3 diploid copies) as well as sample mixtures where female DNA was in 100-fold excess of male DNA.

Other regions of the amelogenin gene have size differences between the X and Y homologues and may be exploited for sex-typing purposes. For example, Eng and coworkers (1994) used a single set of primers that generated a 977-bp product for the X chromosome and a 788-bp fragment for the Y chromo- some. In this case, a 189-bp deletion in the Y relative to the X chromosome was used to differentiate the two chromosomes.

A careful study found that 19 regions of absolute homology, ranging in size from 22 to 80 bp, exist between the human amelogenin X and Y genes that

6-bp

deletion

X

Y

X = 106 bp Y = 112 bp

X = 212 bp Y = 218 bp

AmpFlSTR kits and PowerPlex 16

PowerPlex 1.1

Female: X,X

1:1 Mixture: 3X + 1Y

Male: X,Y

FIGURE 8.10

Schematic of the amelogenin sex-typing assay. The X and Y chromosomes contain a high degree of sequence homology at the amelogenin locus. The primer sets depicted here target a 6-bp deletion that is present only on the X chromosome. The presence of a single peak indicates that the sample comes from a female while two peaks identify the sample’s source as male. The primers to amplify the 106/112-bp fragments are used in the AmpFlSTR kits and PowerPlex 16 kit while the PowerPlex 1.1 kit uses the larger primer set.

can be used to design a variety of primer sets. Thus, by spanning various dele- tions of the X and/or Y chromosome, it is possible to generate PCR products from the X and Y homologues that differ in size and contain size ranges that can be integrated into future multiplex STR amplifications.

Anomalous amelogenin results

While amelogenin is an effective method for sex-typing biological samples in most cases, the results are not foolproof. A rare deletion of the amelogenin gene on the Y chromosome can cause the Y-chromosome amplicon to be absent. In such a case, a male sample would falsely appear as female. It appears that this deletion of the Y-chromosome amelogenin region is more common in Indian populations than those of European or African origin. A study of almost 30,000 males in the Austrian national DNA database revealed that only six individuals lacked the amelogenin Y-amplicon. These individuals were verified to be male by testing Y-STRs and through amplification of the SRY

region. More information on anomalous amelogenin results may be found on STRBase: http://www.cstl.nist.gov/biotech/strbase/Amelogenin.htm.

Amelogenin X allele dropout has also been observed in males. In this case only the amelogenin Y-amplicon is present. This phenomenon was observed only three times out of almost 7000 males examined and likely results from a rare polymorphism in the primer binding sites for the amelogenin primers used in commercial STR kits. A different set of amelogenin primers targeting the same 6-bp deletion on the X chromosome amplified both the X and Y alleles of amelogenin.

STRBASE: A HELPFUL SOURCE OF INFORMATION ON STRS

The rapid growth of the human identification applications for STR loci ensures that static written materials, such as this book, will quickly become out of date. New alleles are constantly being discovered (including ‘off-ladder’ microvariant alleles), additional STR markers are being developed, and popu- lation data increases with each month of published journals. Indeed, a grow- ing list of publications describing the application of STR loci to forensic DNA typing has exceeded 3000 references.

The growth of the Internet now permits dynamic sources of information to be widely available. Several years ago a Web site was created to enable forensic scientists to keep abreast with the rapidly evolving field of DNA typing. In anticipation of the impact of STR markers on DNA typing and the need for a common source of information that could evolve as the process improved, an Internet-accessible informational database was created in early 1997. STRBase was officially launched in July 1997 and is maintained by the Applied Genetics Group of the U.S. National Institute of Standards and Technology. STRBase can be reached via the following URL: http://www.cstl.nist.gov/bio- tech/strbase. A portion of the home page for STRBase is shown in Figure 8.11.

STRBase contains a number of useful elements. Continually updated informa- tion includes the listing of references related to STRs and DNA typing (over 3000 references), addresses for scientists working in the field, microvariant or ‘off-ladder’ STR alleles, triallelic patterns, and numerous PowerPoint files and articles to aid understanding of STR typing. Other information that is updated less frequently includes STR fact sheets, links to other Web pages, a review of technology used for DNA typing as well as published primer sequence infor- mation, and population data for STR markers.

STR markers have become important tools for human identity testing. Commercially available STR kits are now widely used in forensic and paternity

FIGURE 8.11

Home page for STRBase, an Internet-accessible database of information on STR markers used in forensic DNA typing. STRBase may be accessed via the URL http://www.cstl.nist.gov/biotech/strbase and contains, among other things, a comprehensive listing of all papers relating to STR typing for human identity testing purposes, now numbering over 3000 references.

testing laboratories. The adoption of the 13 CODIS core loci for the U.S. and other national DNA databases ensures that these STR markers will be used for many years to come.

Points for Discussion

- What are some benefits of standardizing the DNA tests used in the forensic community to a common set of STR markers?

- How do allelic ladders enable reliable STR typing?

- What are some advantages and disadvantages to using commercial STR typing kits?

READING LIST AND INTERNET RESOURCES

General Information

Butler, J. M. (2007). Short tandem repeat typing technologies used in human identity testing. BioTechniques, 43(4), Sii–Sv.

Ellegren, H. (2004). Microsatellites: Simple sequences with complex evolution. Nature Reviews Genetics, 5, 435–445.

Gill, P. (2002). Role of short tandem repeat DNA in forensic casework in the UK— Past, present, and future perspectives. BioTechniques, 32, 366–372.

STR Allele Nomenclature

Bär, W., et al. (1994). DNA recommendations—1994 report concerning further rec- ommendations of the DNA Commission of the ISFH regarding PCR-based poly- morphisms in STR (short tandem repeat) systems. International Journal of Legal Medicine, 107, 159–160.

Bär, W., et al. (1997). DNA recommendations—Further report of the DNA Commission of the ISFH regarding the use of short tandem repeat systems. International Journal of Legal Medicine, 110, 175–176.

Butler, J. M., et al. (2008). Addressing Y-chromosome short tandem repeat (Y-STR) allele nomenclature. Journal of Genetic Genealogy, 4, 125–148.

Gill, P., et al. (1997). Considerations from the European DNA profiling group (EDNAP) concerning STR nomenclature. Forensic Science International, 87, 185–192.

Gill, P., et al. (1997). Development of guidelines to designate alleles using an STR multiplex system. Forensic Science International, 89, 185–197.

Tautz, D. (1993). Notes on definitions and nomenclature of tandemly repetitive DNA sequences. In D. J. Pena, et al. (Eds.), DNA fingerprinting: State of the science (pp. 21–28). Basel: Birkhauser Verlag.

Allelic Ladders

Baechtel, F. S., et al. (1993). Multigenerational amplification of a reference ladder for alleles at locus D1S80. Journal of Forensic Sciences, 38, 1176–1182.

Griffiths, R. A., et al. (1998). New reference allelic ladders to improve allelic desig- nation in a multiplex STR system. International Journal of Legal Medicine, 111, 267–272.

Kline, M. C., et al. (1997). Interlaboratory evaluation of short tandem repeat triplex CTT. Journal of Forensic Sciences, 42, 897–906.

Puers, C., et al. (1993). Identification of repeat sequence heterogeneity at the polymor- phic short tandem repeat locus HUMTH01 [AATG]n and reassignment of alleles in population analysis by using a locus-specific allelic ladder. American Journal of Human Genetics, 53, 953–958.

Sajantila, A., et al. (1992). Amplification of reproducible allele markers for amplified fragment length polymorphism analysis. Biotechniques, 12, 16–22.

Smith, R. N. (1995). Accurate size comparison of short tandem repeat alleles ampli- fied by PCR. Biotechniques, 18, 122–128.

Forensic STR Markers

Budowle, B., et al. (1998). CODIS and PCR-based short tandem repeat loci: Law enforcement tools. In: Proceedings of the second european symposium on human

identification (pp. 73–88). Madison, WI: Promega Corporation. Available at http:// www.promega.com/geneticidproc/eusymp2proc/17.pdf

Butler, J. M. (2006). Genetics and genomics of core short tandem repeat loci used in human identity testing. Journal of Forensic Sciences, 51, 253–265.

Carracedo, A., & Lareu, M. V. (1998). Development of new STRs for forensic case- work: Criteria for selection, sequencing and population data and forensic valida- tion. In: Proceedings of the ninth international symposium on human identification (pp. 89–107). Madison, WI: Promega Corporation. Available at http://www.promega. com/geneticidproc

Chakraborty, R., et al. (1999). The utility of short tandem repeat loci beyond human identification: Implications for development of new DNA typing systems. Electrophoresis, 20, 1682–1696.

Edwards, A., et al. (1991). DNA typing and genetic mapping with trimeric and tetra- meric tandem repeats. American Journal of Human Genetics, 49, 746–756.

Gill, P., et al. (1996). A new method of STR interpretation using inferential logic— Development of a criminal intelligence database. International Journal of Legal Medicine, 109, 14–22.

Gill, P., et al. (2006). The evolution of DNA databases—Recommendations for new European STR loci. Forensic Science International, 156, 242–244.

Gill, P., et al. (2006). New multiplexes for Europe—Amendments and clarification of strategic development. Forensic Science International, 163, 155–157.

Kimpton, C. P., et al. (1993). Automated DNA profiling employing multiplex amplifi- cation of short tandem repeat loci. PCR Methods and Application, 3, 13–22.

Kimpton, C. P., et al. (1996). Validation of highly discriminating multiplex short tan- dem repeat amplification systems for individual identification. Electrophoresis, 17, 1283–1293.

Urquhart, A., et al. (1994). Variation in short tandem repeat sequences—A survey of twelve microsatellite loci for use as forensic identification markers. International Journal of Legal Medicine, 107, 13–20.

Population Data

Butler, J. M., et al. (2003). Allele frequencies for 15 autosomal STR loci on U.S. Caucasian, African American, and Hispanic populations. Journal of Forensic Sciences, 48, 908–911.

Reid, T. M., et al. (2003). Distribution of HUMACTBP2 (SE33) alleles in three North American populations. Journal of Forensic Sciences, 48, 1422–1423.

Levadokou, E. N., et al. (2001). Allele frequencies for fourteen STR loci of the PowerPlex 1.1 and 2.1 multiplex systems and Penta D locus in Caucasians, African- Americans, Hispanics, and other populations of the United States of America and Brazil. Journal of Forensic Sciences, 46, 736–761.

Commercial STR Kits

Buse, E. L., et al. (2003). Performance evaluation of two multiplexes used in ﬂuores- cent short tandem repeat DNA analysis. Journal of Forensic Sciences, 48, 348–357.

Butler, J. M., et al. (2001). Comparison of primer sequences used in commercial STR kits. Presented at Proceedings of the 53th American Academy of Forensic Sciences,

Seattle, WA. Available at http://www.cstl.nist.gov/biotech/strbase/pub_pres/AAFS_ Feb2001.pdf

Collins, P. J., et al. (2004). Developmental validation of a single-tube amplification of the 13 CODIS STR loci, D2S1338, D19S433, and amelogenin: The AmpFlSTR Identifiler PCR Amplification Kit. Journal of Forensic Sciences, 49, 1265–1277.

Holt, C. L., et al. (2002). TWGDAM validation of AmpFlSTR PCR amplification kits for forensic DNA casework. Journal of Forensic Sciences, 47, 66–96.

Krenke, B. E., et al. (2002). Validation of a 16-locus ﬂuorescent multiplex system.

Journal of Forensic Sciences, 47, 773–785.

LaFountain, M. J., et al. (2001). TWGDAM validation of the AmpFlSTR Profiler Plus and AmpFlSTR COfiler STR multiplex systems using capillary electrophoresis. Journal of Forensic Sciences, 46, 1191–1198.

Leibelt, C., et al. (2003). Identification of a D8S1179 primer binding site mutation and the validation of a primer designed to recover null alleles. Forensic Science International, 133, 220–227.

Masibay, A., et al. (2000). Promega Corporation reveals primer sequences in its testing kits [letter]. Journal of Forensic Sciences, 45, 1360–1362.

Wallin, J. M., et al. (2002). Constructing universal multiplex PCR systems for compara- tive genotyping. Journal of Forensic Sciences, 47, 52–65.

Mobility Modifiers

Applied Biosystems. (2001). AmpFlSTR identifiler PCR amplification kit user’s manual.

Grossman, P. D., et al. (1994). High-density multiplex detection of nucleic acid sequences: Oligonucleotide ligation assay and sequence-coded separation. Nucleic Acids Research, 22, 4527–4534.

Gender Identification with Amelogenin

Eng, B., et al. (1994). Anomalous migration of PCR products using nondenaturing polyacrylamide gel electrophoresis: The amelogenin sex-typing system. Journal of Forensic Sciences, 39, 1356–1359.

Haas-Rochholz, H., & Weiler, G. (1997). Additional primer sets for an amelogenin gene PCR-based DNA-sex test. International Journal of Legal Medicine, 110, 312–315.

Mannucci, A., et al. (1994). Forensic application of a rapid and quantitative DNA sex test by amplification of the X-Y homologous gene amelogenin. International Journal of Legal Medicine, 106, 190–193.

Sullivan, K. M., et al. (1993). A rapid and quantitative DNA sex test: Fluorescence- based PCR analysis of X-Y homologous gene amelogenin. BioTechniques, 15, 637–641.

Amelogenin Anomalies

Cadenas, A. M., et al. (2007). Male amelogenin dropouts: Phylogenetic context, ori- gins and implications. Forensic Science International, 166, 155–163.

Chang, Y. M., et al. (2007). A distinct Y-STR haplotype for Amelogenin negative males characterized by a large Y(p)11.2 (DYS458-MSY1-AMEL-Y) deletion. Forensic Science International, 166, 115–120.

Jobling, M. A., et al. (2007). Structural variation on the short arm of the human Y chromosome: Recurrent multigene deletions encompassing Amelogenin Y. Human Molecular Genetics, 16, 307–316.

Oz, C., et al. (2008). A Y-chromosome STR marker should be added to commercial multiplex STR kits. Journal of Forensic Sciences, 53, 858–861.

Santos, F. R., et al. (1998). Reliability of DNA-based sex tests. Nature Genetics, 18, 103.

Shewale, J. G., et al. (2000). Anomalous amplification of the amelogenin locus typed by AmpFlSTR Profiler Plus amplification kit. Forensic Science Communications, 2(4). Available at http://www.fbi.gov/hq/lab/fsc/backissu/oct2000/shewale.htm

Steinlechner, M., et al. (2002). Rare failures in the amelogenin sex test. International Journal of Legal Medicine, 116(2), 117–120.

Thangaraj, K., et al. (2002). Is the amelogenin gene reliable for gender identification in forensic casework and prenatal diagnosis?. International Journal of Legal Medicine, 116(2), 121–123.

STRBase

Butler, J. M., et al. (1997). STRBase: A short tandem repeat DNA Internet-accessible database. In: Proceedings of the eighth international symposium on human identifica- tion. (pp. 38–47). Madison, WI: Promega Corporation. Available at http://www. promega.com/geneticidproc/ussymp8proc

Butler, J. M. (2007). STRBase: 10 years and beyond—New internet resources for the human identity testing community. Poster presentation at Eighteenth international symposium on human identification, Hollywood, CA, October 2–3, 2007. Available at http://www.cstl.nist.gov/biotech/strbase/NISTpub.htm

Butler, J. M. (2008). New resources for the forensic genetics community available on the NIST STRBase Web site. Forensic Science International: Genetics Supplement Series (Progress in Forensic Genetics 12), 1(1), 97–99.

Ruitberg, C. M., et al. (2001). STRBase: A short tandem repeat DNA database for the human identity testing community. Nucleic Acids Research, 29, 320–322.

STRBase.  http://www.cstl.nist.gov/biotech/strbase