AL-FARABI KAZAKH NATIONAL UNIVERSITY

A. Utegenov Sh. Abdiyeva

N. Nagyman

# THEORETICAL FOUNDATIONS OF ELECTRICAL ENGINEERING

(practical works)

Educational-methodical manual

Almaty

«Qazaq University» 2025

UDC 621.3

LBC 31.2

U 92

Recommended by the Academic Council of the Faculty of Physics and Technology and Editorial and Publishing Council of al-Farabi KazNU

(Protocol №4 dated 28.12.2023)

## Reviewer

PhD Steven Schuls

# Utegenov A.

U 92 Theoretical foundations of electrical engineering (practical works): еd.-meth. manual / A. Utegenov, Sh. Abdiyeva, N. Nagyman. – Almaty: Qazaq University, 2025. – 110 p.

# ISBN 978-601-04-7012-5

The methodical manual presents brief theoretical information on DC and AC electric circuits and general recommendations for bench and laboratory work.

The manual is designed to improve the theoretical skills of students of secondary and higher educational institutions on courses “Theoretical basics of electrical engineering – 1”, “Theoretical basics of electrical engineering – 2”, practical verification of the basic laws and practices of electrical engineering, advanced training of students of vocational colleges and engineering and technical workers. Also useful for students studying in the educational program "Electric Power Engineering".

Published in the author's edition.

## UDC 621.3

LBC 31.2

ISBN 978-601-04-7012-5	© Utegenov A., Abdiyeva Sh., Nagyman N., 2025

© Al-Farabi KazNU, 2025

# CONTENT

| 0BSafety regulations | 5 |
| --- | --- |
| Description of the stand and general recommendations for laboratory work implementation | 6 |
| 1.1 Purpose and composition of the bench | 6 |
| - Description of the bench elements - Module of power supply - Module of functional generator - Power reader - Module of multimeters - Area for scheme assemble - Minimodules used for scheme assemble | 6 7 8 9 11 11 12 |
| 1.3 Purpose of laboratory classes | 13 |
| 1.4 Preparation for the laboratory performance | 13 |
| 1.5 Conducting the experiment | 14 |
| 1.6 Processing of results and report writing | 16 |
| DC electric circuits. Brief theoretical information | 18 |
| Work No. 1-1. Electrical measuring instruments and measurements | 26 |
| Work No. 1-2. Simple linear DC electric circuits | 30 |
| Work No. 1-3. Branched linear DC electric circuit | 34 |
| Work No. 1-4. DC electric circuit with two power supplies | 38 |
| Work No. 1-5. Nonlinear DC circuit with series elements | 42 |
| Work No. 1-6. Branched nonlinear DC electric circuit | 46 |
| AC electric circuit. Brief theoretical information | 51 |
| Work No. 2-1. Determination of parameters of AC circuit elements | 71 |
| Work No. 2-2. An AC electric circuit with series elements | 74 |
| Work No. 2-3. An AC electric circuit with parallel elements | 78 |
| Work No. 2-4. Three-phase electric circuit with star connected consumers | 82 |
| Work No. 2-5. Three-phase electric circuit with delta connected consumers | 87 |

3

| Work No. 2-6. Nonlinear AC circuit | 90 |
| --- | --- |
| Work No. 2-7. Transients in R-L and R-C circuits | 95 |
| Work No. 2-8. Discharge of capacitor in R-L circuit | 100 |
| Work No. 2-9. Single-phase transformer | 106 |

4

Educational issue

Utegenov Almasbek Abdiyeva Sholpan Nagyman Nazym

# THEORETICAL FOUNDATIONS OF ELECTRICAL ENGINEERING

(practical works)

Educational-methodical manual

Layout and cover design

Tursymbekova Khalida

IB No. 15661

Signed for publishing 12.02.2025. Format 70х100 1/12.

Offset paper. Digital printing.

Volume 6,8 printer’s sheet. 30 copies. Order No. 030.

Publishing house “Qazaq University”. Al-Farabi kAzakh National University KazNU, 71 Al-Farabi, 050040, Almaty

Printed in the printing office of the “Qazaq University” Publishing House.